## Sheet1
RFP # 1599 Attachment #1 Inventory Pricing Sheet The Contractor shall not make changes to this format. Pricing Sheet must be returned to MSU in both Hardcopy format as part of the Submitted Proposal Package and Electronically in MS Excel format.
Building | Panel | Smoke Detectors | Wireless detecotrs CWSI | CWSI repeaters | Duct Detector | Heat Detectors | Beam Detectors | Fire Alarm Manuel Stations | Monitor Module | Relay Module | Control Module | Horn/Strobe Unit | Horn Unit | Speaker/Strobe Units | Strobe Unit | Speaker | Fire Bell | Tamper Switch | Pressure Switch | Waterflow Switch | Fireman's Telephone Jack | Carbon Monoxide Detector | Suppression Pull | Remote Annunciator | Door Holders | Panic Alarm Buttons | August 1, 2024 - July 31, 2025 | August 1, 2025 - July 31, 2026 | August 1, 2026 - July 31, 2027 | August 1, 2027 - July 31, 2028 | August 1, 2028 - July 31, 2029
Montclair State University - Main Campus
Blanton Hall | NFS2-3030/CP-3600 | 194 | 336 | 22 | 13 | 22 | 4 | 41 | 155 | 98 | 13 |  |  | 140 | 22 |  |  | 32 |  | 27 |  | 3 | 4 |  | 8 | 3
Bohn Hall | NFS2-3030 | 547 |  |  | 4 | 50 |  | 64 | 211 | 28 | 53 |  | 17 | 120 |  |  |  | 35 |  | 28 | 52 | 1 |  |  | 25
Bond House | NFS-320 | 8 |  |  |  | 16 |  | 5 |  |  |  | 6 | [9 empty] | 1
Calcia Hall | NFS2-640 | 15 |  |  | 4 | 71 |  | 16 | 9 | 4 | 3 | [5 empty] | 9
Cali Music Building | NFS2-3030 | 201 |  |  |  | 4 | 4 | 25 | 18 | 9 | 3 |  |  | 155 | 6 |  |  | 12 |  | 6 |  |  |  | 1 | 12
Car Parc Diem | NFS2-640 | 4 |  |  |  | 12 |  | 25 | 7 |  |  | 58 | [5 empty] | 6 |  | 1 |  |  |  | 1
CELS Building | NFS2-3030 | 174 |  |  | 32 | 5 |  | 15 | 27 | 43 | 6 |  |  | 222 | 35 | 47 |  | 11 | 7 | 5 |  |  |  | 1 | 16
Center for Clinical Services (Facilities) | NFS2-3030 | 60 |  |  | 9 |  |  | 11 | 3 | 18 | 3 |  |  | 73 | 15
Center for Computing and Information Science | NFS2-3030 | 32 |  |  | 1 | 1 |  | 8 | 2 | 5 | 3 |  |  | 43 | 7 |  |  | 2 |  | 1 |  |  |  | 1 | 3
Ben Samuel's Childen's Center | NFS2-3030 | 42 |  |  | 3 |  |  | 20 | 8 | 5 | 2 |  |  | 27 | 25 |  |  | 4 | 2 | 2 |  | 1 |  | 1 | 2
Clove Rd. 100 | NFS-320/CP-3600 | 11 | 121 | 5 |  |  |  | 22 |  |  |  | 34 | [5 empty] | 1 |  | 2
Clove Rd. 200 | NFS-320/CP-3600 | 9 | 99 | 5 |  |  |  | 18 |  |  |  | 28 | [5 empty] | 1 |  | 1
Clove Rd. 300 | NFS-320/CP-3600 | 10 | 111 | 5 |  |  |  | 20 |  |  |  | 30 | [5 empty] | 1 |  | 1
Cole Hall | NFS2-3030 | 119 |  |  | 59 | 13 |  | 18 | 48 | 88 | 6 |  |  | 160 | 19 |  |  | 22 | 9 | 13 |  |  |  | 4 | 20
Dickson Hall | NFS-640 | 202 |  |  | 10 | 6 |  | 21 | 40 | 5 |  | 89 |  |  | 31 |  |  | 8 |  | 6 |  |  |  |  | 9
Dinallo Heights | NFS2-3030 | 1151 |  |  | 15 | 6 |  | 55 | 50 | 25 | 14 |  |  | 484 | 83 |  |  | 21 |  | 17 |  | 2 |  | 1 | 30 | 5
Drop-In Center | FIRE LITE MS/5012 |  |  |  |  | 4 |  | 2 |  |  |  | 1
Electrical Substation | NFS2-640 | 9 |  |  | 2 |  |  | 2 |  |  |  | 4
Field House | NFS2-640 | 5 |  |  | 1 | 38 |  | 7 |  |  |  | 2 | 1 |  | 5 |  | 5 | 1 |  | 1 |  |  |  | 1
Finley Hall (Annex) | NFS2-640 | 11 |  |  | 1 |  |  | 6 | 5 | 1 | 2 |  |  | 19 |  |  |  | 2 |  | 3 |  | 1
Floyd Hall Arena | NFS2-640 | 3 |  |  | 6 | 2 |  | 20 | 5 | 1 |  | 44 |  |  | 8 |  |  | 3 |  | 1
Freeman Hall | NFS2-3030 | 230 |  |  | 2 | 71 |  | 25 | 46 | 8 | 8 | 88 | [5 empty] | 11 |  | 10 |  |  |  | 1 |  | 2
Kasser Theater | NFS-640 | 80 |  |  | 18 | 59 |  | 33 | 26 | 38 | 20 |  |  | 87 | 2 |  |  | 13 |  | 7 |  |  |  |  | 16
Machuga Heights | NFS2-3030 | 1001 |  |  | 17 | 6 |  | 60 | 50 | 25 | 14 |  |  | 480 | 53 |  |  | 21 |  | 17 |  | 2 |  | 1 | 30 | 5
Morehead Hall | NFS2-3030 | 68 |  |  | 5 | 7 |  | 14 | 14 | 11 | 3 |  |  | 39 | 21 |  |  | 8 |  | 6 |  |  |  | 1
10 Normal Ave | NFS-320 | 5 | [9 empty] | 1 | 1 |  |  |  |  | 1 |  | 1 |  | 1
14 Normal Ave | NFS-320 | 4 | [5 empty] | 1 |  |  |  | 2 | [9 empty] | 1
18 Normal Ave | NFS-320 | 11 |  |  |  | 1 |  | 4 |  |  |  | 5 |  |  | 2 | [6 empty] | 1
20 Normal Ave | NFS-320 | 9 | [5 empty] | 1 | 5 |  |  | 3 |  |  | 3 |  |  | 4 |  | 1 |  | 3
22 Normal Ave | NFS-320 | 4 | [9 empty] | 1 | [9 empty] | 1
30 Normal Ave | NFS-320 | 12 |  |  |  | 2 |  | 4 |  |  |  | 5 | [9 empty] | 1
Panzer Gym | NFS2-3030 | 83 |  |  | 5 | 12 |  | 31 | 8 | 6 | 3 |  |  | 97 | 31 |  |  | 6 |  | 2 |  |  |  | 1
President's House | NFS-320 | 4 |  |  |  | 4 | [6 empty] | 2 | [8 empty] | 1
Rec Center | NFS2-640 | 53 |  |  | 10 | 3 | 5 | 13 | 18 | 15 |  | 63 |  |  | 10 |  |  | 6 |  | 4 |  |  |  | 1
Red Hawk Athletic Annex | NFS2-640 | 11 |  |  |  | 45 |  | 8 | [6 empty] | 1 |  | 7
Red Hawk Diner | NFS-320 | 7 |  |  | 3 | 3 |  | 4 |  |  |  | 6 | [9 empty] | 3 | 1 | 1
Red Hawk Parking | NFS2-640 | 79 |  |  | 1 | 5 |  | 22 | 5 | 5 |  | 88 |  |  | 3 |  |  | 3 |  | 1 |  | 5
Richardson Hall | NFS2-3030 | 7 |  |  | 6 | 223 |  | 26 | 13 | 3 | 4 | 79 | [5 empty] | 1 |  | 1 |  | 27 |  | 1
Russ Hall | NFS2-640 | 132 |  |  | 4 | 21 |  | 19 | 41 | 11 | 2 | 39 |  |  | 5 |  |  | 8 |  | 6 |  |  |  | 1 | 5 | 1
School of Business | NFS2-3030 | 254 |  |  | 67 | 13 |  | 52 | 23 | 71 | 7 |  |  | 235 | 42 | 23 |  | 14 |  | 8 |  |  |  | 1 | 24
School of Communication and Media (Life Hall) | NFS2-3030 | 107 |  |  | 19 | 23 |  | 22 | 20 | 38 | 8 | 60 |  | 64 | 122 |  |  | 9 |  | 7 |  |  |  |  | 7
School of Nursing and Graduate School | NFS2-3030 | 51 |  |  | 6 | 3 |  | 18 | 20 | 52 | 5 |  |  | 90 |  |  |  | 10 |  | 7 |  |  |  | 1
Science Hall | NFS-640 | 17 |  |  | 10 | 5 |  | 21 | 17 | 4 | 3 | 79 | 7 |  |  |  |  | 9 |  | 7 |  |  |  | 1 | 28
Schmitt Hall | NFS2-3030 | 225 |  |  | 4 | 6 |  | 12 | 4 | 7 | 3 |  |  | 73 | 30 |  |  | 7 |  | 5 |  | 6 |  | 1 | 12
Sinatra Hall | NFS2-3030 | 346 |  |  | 1 | 5 |  | 26 | 4 | 7 | 6 | 1 |  | 325 | 4 |  |  | 13 |  | 8 |  | 45 |  | 1 | 10
Sprague Library | NFS-3030 | 329 |  |  | 13 | 36 |  | 29 | 27 | 10 | 2 | 69 |  |  | 26 |  |  | 5 |  | 1 |  |  |  | 1 | 10
Stone Hall | NFS2-3030 | 118 |  |  |  | 51 |  | 13 | 23 | 3 | 2 |  |  | 29 | 14 |  |  | 9 |  | 7 |  |  |  | 1 | 4 | 1
Student Center | NFS2-3030 | 116 |  |  | 7 | 7 |  | 24 | 18 | 6 | 5 |  |  | 85 |  |  |  | 8 |  | 7 |  | 7 | 3 | 1
University Hall | NFS-3030 | 147 |  |  | 48 | 23 | 2 | 32 | 68 | 21 | 9 | 359 |  | 11 | 13 |  | 4 | 40 | 5 | 16 | 48 | 2 | 4 | 1
University Police | NFS-640 | 12 | [5 empty] | 2 |  |  |  | 10 | [6 empty] | 1 |  |  |  |  | 1
Vill.:Abbott &Cost. | NFS2-640 | 33 |  |  | 1 | 10 |  | 9 | 11 | 5 |  | 9 | [5 empty] | 6 |  | 4 |  | 3 |  | 1
Village: Basie | NFS2-3030 | 363 |  |  | 2 | 86 |  | 23 | 71 | 23 | 8 | 202 | [5 empty] | 21 |  | 7 |  | 54
Village: Fenwick | NFS2-3030 | 372 |  |  | 2 | 87 |  | 23 | 77 | 33 | 8 | 202 | [5 empty] | 21 |  | 7 |  | 54
Village-Paul Hall | NFS2-3030 | 351 |  |  | 2 | 86 |  | 23 | 70 | 24 | 8 | 207 | [5 empty] | 21 |  | 7 |  | 54
Village: Williams | NFS2-3030 | 361 |  |  | 2 | 87 |  | 23 | 71 | 24 | 8 | 207 | [5 empty] | 22 |  | 7 |  | 55
Yogi Berra Stadium | NFS2-640 | 40 |  |  | 1 | 15 |  | 13 | 3 | 7 |  | 21 | [5 empty] | 1 |  | 1
Montclair State University - Bloomfield College
12 Austin Place - Center for Career Development | Holmes- 1912xr | 3 |  |  |  | 1 |  | 2 |  |  |  | 5 | [11 empty] | 1
18-22 Austin Place - Schweitzer Hall | Silent Knight | 67 |  |  |  | 3 |  | 10 |  |  |  | 22 | [5 empty] | 3 |  | 1 |  | 8 |  | 1
19 Austin Place - Student Residence | DMP | 10 |  |  |  | 3 |  | 2 |  |  |  | 8 | [5 empty] | 2 |  | 1 |  | 4 |  | 1
21 Austin Place - Student Residence | DMP | 14 |  |  |  | 5 |  | 5 |  |  |  | 8 | [5 empty] | 2 |  | 1 |  | 6 |  | 1
23 Austin Place - Student Residence | FIRE LITE MS/9050 | 15 |  |  |  | 3 |  | 5 |  |  |  | 5 |  |  | 3 |  |  | 2 |  | 1 |  | 6 |  | 1
25 Austin Place - Student Residence | DMP | 18 |  |  |  | 5 |  | 5 |  |  |  | 10 | [5 empty] | 2 |  | 1 |  | 4
26 Austin Place - Talbot Hall | EST | 25 |  |  |  | 3 |  | 8 |  |  |  | 21 | [5 empty] | 6 |  | 3 |  |  |  | 4
37 Broad Street - Residence Hall |  | 237 |  |  | 2 | 8 |  | 18 | [5 empty] | 5 | 4 |  |  | 8 |  | 6 |  | 46 |  | 3 | 1
437-447 Franklin Street - Van Fossan Theater | DMP | 16 | [5 empty] | 3 |  |  |  | 6 | [5 empty] | 3 |  | 1 |  |  |  | 2
451 Franklin Street - Jarvie Hall Grant Office | ADT Focus 200 | 9 | [5 empty] | 3 |  |  |  | 10 | [5 empty] | 2
453 Franklin Street - Vorhees Hall EOF Office | Vista | 10 |  |  |  | 2 |  | 6 |  |  |  | 8 |  |  | 3
460 Franklin Street - Student Residence | Simplex | 237 |  |  | 2 | 8 |  | 18 | [5 empty] | 5 | 4 |  |  | 8 |  | 6 |  | 46 |  | 3 | 1
463 Franklin Street - Richards Hall | DMP/Vista | 1 |  |  |  | 1 |  | 6 |  |  |  | 8 |  |  | 3 |  |  | 2 |  | 1
467 Franklin Street - Knox Hall | DMP-XR500 | 37 |  |  | 3 | 1 |  | 10 |  |  |  | 10 |  |  | 4 | [6 empty] | 1
469-481 Franklin Street - Seibert Hall | Holmes- 1912xr | 21 |  |  |  | 56 |  | 18 |  |  |  |  | 32 | [10 empty] | 1
59 Fremont Street - Social and Behavioral Sciences | DMP | 4 |  |  |  | 2 |  | 3 | [13 empty] | 2
61 Fremont Street - Student Residence | FIRE LITE MS/5012 | 12 |  |  |  | 5 |  | 3 | [9 empty] | 2 | [5 empty] | 2
63 Fremont Street - Westminster Hall | DMP | 36 |  |  |  | 24 | 1 | 14 |  |  |  | 20 | [11 empty] | 1
164 Liberty Street | Holmes- 1912xr | 3 |  |  |  | 2 |  | 4 |  |  |  | 3 | [11 empty] | 1
170 Liberty Street - Gymnasium | DMP | 7 |  |  |  | 5 |  | 3 |  |  |  | 9 | [11 empty] | 1
171 Liberty Street - College Hall | FCI | 132 |  |  |  | 9 |  | 14 |  |  |  | 29 |  |  | 6 | [8 empty] | 1
185 Liberty Street - IT Help Desk | Bosch Radionics | 9 |  |  |  | 2 |  | 4 |  |  |  | 6 | [11 empty] | 1
198 Liberty Street - Ctr. for Technology & Creativity | DMP | 8 |  |  | 3 | 3 |  | 6 |  |  |  | 40 | 6 |  |  |  |  | 9 |  | 5
220 Liberty Street - Clee Hall | Silent knight 5208 | 100 |  |  |  | 18 |  | 12 |  |  |  | 22 | [5 empty] | 2 |  | 1 |  | 8 |  | 1
225 Liberty Street - Security/Student Residence | FCI | 129 |  |  |  | 7 |  | 14 |  |  |  | 18 |  |  | 34 |  |  | 8 |  | 5 |  | 6 |  | 1
229 Liberty Street - Physical Plant | DMP XR500 | 4 |  |  |  | 1 |  | 2 |  |  |  | 5 | [11 empty] | 1
61 Oakland Street - Student Residence | Holmes 1912 | 7 |  |  |  | 2 |  | 2 |  |  |  | 5 | [5 empty] | 2 |  | 1 |  | 4 |  | 1
68 Oakland Street = President's House | DMP | 9 |  |  |  | 3 |  | 4 |  |  |  | 10 |  |  | 9 | [6 empty] | 1
73 Oakland Street - Academic Affairs | DMP | 5 |  |  |  | 2 |  | 2 |  |  |  | 5
74 Oakland Street - Nursing | Bosch Radionics | 5 | [5 empty] | 4 |  |  |  | 10 | [11 empty] | 1
86 Oakland Street - Library | Simplex | 84 |  |  |  | 11 |  | 8 |  |  |  | 15 |  |  | 12 | [8 empty] | 3
1 Park Place - Admissions Office | Holmes-1912XR | 5 |  |  |  | 2 |  | 4 |  |  |  | 6 | [11 empty] | 1
23 Park Place - Student Residence | DMP | 35 |  |  |  | 5 |  | 8 |  |  |  | 15 |  |  | 3 |  |  | 2 |  | 1 |  | 6
58 Spruce Street - Student Residence | Holmes 1912 | 9 |  |  |  | 8 |  | 4 |  |  |  | 7 | [5 empty] | 2 |  | 1 |  | 4 |  | 1
60 Spruce Street - Student Residence | Holmes 1912 | 12 |  |  |  | 8 |  | 4 |  |  |  | 4 | [5 empty] | 2 |  | 1 |  | 4 |  | 1
68 Spruce Street - Student Residence | Holmes 1912 | 9 |  |  |  | 3 |  | 4 |  |  |  | 10 | [5 empty] | 2 |  | 1 |  | 4 |  | 1
102 Spruce Street - Student Residence | DMP 500 | 3 |  |  |  | 3 | [5 empty] | 3 |  |  | 1
[26 empty] | TOTAL | #REF! | #REF! | #REF! | 291900 | #REF!